## Average Annual Rainfall (Scenar
|  | Year | Addicks Reservoir | Brays Bayou | Buffalo Bayou | Greens Bayou | White Oak Bayou
OVERALL YEARLY AVERAGE | 48.8045 | 1996 |  | 31.74 | 38.43 | 36.15
OVERALL DAILY AVERAGE | 0.13371 | 1997 |  | 47.42 | 75.82 | 68.84
|  | 1998 |  | 30.17 | 63.74 | 33.42
|  | 1999 |  | 30.39 | 38.58 | 28.67
|  | 2000 | 56.42 | 65.05 | 44.55 | 35.21
|  | 2001 | 64.71 | 68.43 | 63.55 | 52.71 | 56.2
|  | 2002 | 51.55 | 48.69 | 58.44 | 44.46 | 52.54
|  | 2003 | 46.72 | 53.23 | 47.32 | 37 | 47.31
|  | 2004 | 59.12 | 31.2 | 74.47 | 50.04 | 65.7
|  | 2005 | 28.64 | 36.76 | 49.91 | 40.63 | 45.32
|  | 2006 | 45.03 | 47.27 | 51.87 | 49.95 | 58
|  | 2007 | 49.2 | 60.32 | 91.56 | 61.38 | 73.63
|  | 2008 | 29.02 | 45.56 | 53.96 | 35.08 | 53.51
|  | 2009 | 41.39 | 41.77 | 52.35 | 42.54 | 34.41
|  | 2010 | 43.11 | 48.75 | 43.02 | 45.82 | 41.88
|  | 2011 | 15.4 | 21.08 | 25.24 | 22.52 | 25.32
|  | 2012 | 53.16 | 49.08 | 53 | 46.92 | 49.4
|  | 2013 | 39.2 | 42.56 | 39 | 36.68 | 39.8
|  | 2014 | 42 | 47.48 | 48.6 | 48.52 | 48.2
|  | 2015 | 59.24 | 81.48 | 73.2 | 68.8 | 73.76
|  | 2016 | 54.2 | 52.76 | 64.24 | 58.48 | 61.48
|  | AVERAGE YEARLY RAINFALL | 46.5333 | 46.2437 | 54.4237 | 44.8663 | 51.9557
|  | AVERAGE DAILY RAINFALL | 0.12749 | 0.1267 | 0.14911 | 0.12292 | 0.14234

## Storm Average (Scenario 2)
Adjusting Factor | 0.92025 | Date | Addicks Reservoir | Brays Bayou | Buffalo Bayou | Greens Bayou | White Oak Bayou
|  | 1996-09-19 |  | 3.44 | 2.32 | 1.92
|  | 1997-09-23 |  | 2.32 | 4.16 | 2.48
|  | 1998-09-11 |  |  | 9.1 | 3.48
OVERALL AVERAGE | 3.9577 | 1999-03-19 |  | 0.75 | 5 | 1.6
|  | 2000-05-20 | 2.2 | 1.12 | 1.36 | 3.84
|  | 2001-06-09 | 2.64 | 6.84 | 6.09 | 7.02 | 11.25
|  | 2002-04-08 | 3.44 | 2.48 | 4 | 3.52 | 3.56
|  | 2003-11-18 | 7.76 | 3.96 | 7.52 | 6.52 | 6.99
|  | 2004-11-23 | 4.16 | 1.6 | 3.6 | 3.2 | 4.4
|  | 2005-12-15 | 3.8 | 2.04 | 4.91 | 4.48 | 4.68
|  | 2006-10-16 | 4.56 | 5.04 | 6.31 | 4.25 | 5.8
|  | 2007-11-18 | 2.08 | 2.44 | 2.28 | 2.48 | 3.48
|  | 2008-09-13 | 2.04 | 8.26 | 8.07 | 7.13 | 6.81
|  | 2009-04-28 | 5.72 | 1.79 | 3.16 | 1.64
|  | 2010-07-02 | 3.97 | 4.49 | 4.01 | 6.19 | 4.33
|  | 2011-10-09 | 1.08 | 3.52 | 3.72 | 2.92 | 3.64
|  | 2012-05-12 | 1.92 | 3.32 | 1.96 | 2.8 | 3.16
|  | 2013-09-21 | 5.44 | 2.16 | 5.44 | 3.44 | 3.68
|  | 2014-05-28 | 2.6 | 1.84 | 2.8 | 3.28 | 2.64
|  | 2015-10-25 | 6.28 | 6.68 | 7.44 | 5.64 | 6.32
|  | 2016-04-18 | 7.4 | 6.48 | 7.48 | 8.32 | 6.2
|  | UNADJUSTED AVERAGE | 3.9465 | 3.5285 | 4.7967 | 4.1024 | 5.1293
|  | ADJUSTED AVERAGE | 3.6317 | 3.2471 | 4.4141 | 3.7752 | 4.7202

## All Data from 1991
NON-POINT SOURCE POLLUTANTS FOR HARRIS COUNTY
SCENARIO 1
CONCENTRATIONS | Area (sq miles) | Runoff Volume (thousand acre-ft) | Total Suspended Solids (mg/l) | Total Nitrogen (mg/l) | Total Phosphorous (mg/l) | Biochemical Oxygen Demand (mg/l) | Fecal Coliforms (col/100 ml) | Dissolved Copper (micrograms/l) | Oil and Grease (mg/l) | Pesticides (microgram/l)
Addicks Reservoir | 134 | 82 | 213 | 1.94 | 0.35 | 6.8 | 9122 | 3.1 | 3.7 | 0.2
Brays Bayou | 127 | 147 | 158 | 2.24 | 0.41 | 9.1 | 18558 | 3.1 | 9.2 | 0.35
Buffalo Bayou | 105 | 116 | 151 | 2.36 | 0.46 | 9.7 | 19178 | 3.1 | 8.9 | 0.36
Greens Bayou | 209 | 184 | 133 | 2.19 | 0.4 | 9.3 | 15003 | 3.1 | 6 | 0.29
White Oak Bayou | 110 | 128 | 152 | 2.32 | 0.44 | 9.5 | 18332 | 3.1 | 8.5 | 0.34
LOADS | Area (sq miles) | Runoff Volume (thousand acre-ft) | Total Suspended Solids (million kg) | Total Nitrogen (thousand kg) | Total Phosphorous (thousand kg) | Biochemical Oxygen Demand (million kg) | Fecal Coliforms (xE15 col) | Dissolved Copper (kg) | Oil and Grease (million kg) | Pesticides (kg)
Addicks Reservoir | 134 | 82 | 22 | 195 | 36 | 0.7 | 9 | 312 | 0.4 | 20
Brays Bayou | 127 | 147 | 29 | 406 | 75 | 1.7 | 34 | 561 | 1.7 | 63
Buffalo Bayou | 105 | 116 | 22 | 337 | 65 | 1.4 | 27 | 445 | 1.3 | 51
Greens Bayou | 209 | 184 | 30 | 497 | 92 | 2.1 | 34 | 702 | 1.4 | 66
White Oak Bayou | 110 | 128 | 24 | 365 | 69 | 1.5 | 29 | 488 | 1.3 | 54
SCENARIO 2
CONCENTRATIONS | Area (sq miles) | Runoff Volume (thousand acre-ft) | Total Suspended Solids (mg/l) | Total Nitrogen (mg/l) | Total Phosphorous (mg/l) | Biochemical Oxygen Demand (mg/l) | Fecal Coliforms (col/100 ml) | Dissolved Copper (micrograms/l) | Oil and Grease (mg/l) | Pesticides (microgram/l)
Addicks Reservoir | 134 | 20 | 201 | 1.83 | 0.33 | 6.3 | 6766 | 3.1 | 2.2 | 0.2
Brays Bayou | 127 | 23 | 153 | 2.22 | 0.41 | 9 | 16379 | 3.1 | 7.5 | 0.3
Buffalo Bayou | 105 | 19 | 145 | 2.35 | 0.46 | 9.6 | 17141 | 3.1 | 7.1 | 0.3
Greens Bayou | 209 | 33 | 121 | 2.09 | 0.38 | 9 | 12472 | 3.1 | 4.3 | 0.3
White Oak Bayou | 110 | 20 | 145 | 2.33 | 0.44 | 9.6 | 16568 | 3.1 | 6.9 | 0.3
LOADS | Area (sq miles) | Runoff Volume (thousand acre-ft) | Total Suspended Solids (million kg) | Total Nitrogen (thousand kg) | Total Phosphorous (thousand kg) | Biochemical Oxygen Demand (thousand kg) | Fecal Coliforms (xE15 col) | Dissolved Copper (kg) | Oil and Grease (thousand kg) | Pesticides (kg)
Addicks Reservoir | 134 | 20 | 5.1 | 46 | 8 | 159 | 2 | 78 | 55 | 4
Brays Bayou | 127 | 23 | 4.4 | 63 | 12 | 255 | 5 | 88 | 212 | 9
Buffalo Bayou | 105 | 19 | 3.4 | 55 | 11 | 224 | 4 | 72 | 166 | 8
Greens Bayou | 209 | 33 | 5 | 85 | 15 | 366 | 5 | 127 | 177 | 10
White Oak Bayou | 110 | 20 | 3.5 | 57 | 11 | 232 | 4 | 75 | 167 | 8

## Scenario 1 - 2016
CONCENTRATIONS | Area (sq miles) | Runoff Volume (acre-ft) | Runoff Volume (liters) | Runoff Volume (gallons) | Total Suspended Solids (mg/l) | Total Nitrogen (mg/l) | Total Phosphorous (mg/l) | Biochemical Oxygen Demand (mg/l) | Fecal Coliforms (col/100 ml) | Dissolved Copper (micrograms/l) | Oil and Grease (mg/l) | Pesticides (microgram/l)
Addicks Reservoir | 134 | 82000 | 101145000000 | 26719682235.7649 | 213 | 1.94 | 0.35 | 6.8 | 9122 | 3.1 | 3.7 | 0.2
Brays Bayou | 127 | 147000 | 181321600000 | 47900099208.8632 | 158 | 2.24 | 0.41 | 9.1 | 18558 | 3.1 | 9.2 | 0.35
Buffalo Bayou | 105 | 116000 | 143083700000 | 37798714687.9976 | 151 | 2.36 | 0.46 | 9.7 | 19178 | 3.1 | 8.9 | 0.36
Greens Bayou | 209 | 184000 | 226960300000 | 59956568254.8211 | 133 | 2.19 | 0.4 | 9.3 | 15003 | 3.1 | 6 | 0.29
White Oak Bayou | 110 | 128000 | 157885400000 | 41708910155.3872 | 152 | 2.32 | 0.44 | 9.5 | 18332 | 3.1 | 8.5 | 0.34
LOADS PER YEAR | Area (sq miles) | Runoff Volume (acre-ft) | Runoff Volume (liters) | Runoff Volume (gallons) | Total Suspended Solids (mg) | Total Nitrogen (mg) | Total Phosphrous (mg) | Biochemical Oxygen Demand (mg) | Fecal Coliforms (xE15 col) | Dissolved Copper (micrograms) | Oil and Grease (mg) | Pesticides (microgram)
Addicks Reservoir | 134 | 82000 | 101145000000 | 26719682235.7649 | 22 | 195 | 36 | 0.7 | 9 | 312 | 0.4 | 20
Brays Bayou | 127 | 147000 | 181321600000 | 47900099208.8632 | 29 | 406 | 75 | 1.7 | 34 | 561 | 1.7 | 63
Buffalo Bayou | 105 | 116000 | 143083700000 | 37798714687.9976 | 22 | 337 | 65 | 1.4 | 27 | 445 | 1.3 | 51
Greens Bayou | 209 | 184000 | 226960300000 | 59956568254.8211 | 30 | 497 | 92 | 2.1 | 34 | 702 | 1.4 | 66
White Oak Bayou | 110 | 128000 | 157885400000 | 41708910155.3872 | 24 | 365 | 69 | 1.5 | 29 | 488 | 1.3 | 54
LOADS PER DAY | Area (sq miles) | Runoff Volume (acre-ft) | Runoff Volume (liters) | Runoff Volume (gallons) | Total Suspended Solids (mg) | Total Nitrogen (mg) | Total Phosphrous (mg) | Biochemical Oxygen Demand (mg) | Fecal Coliforms (xE15 col) | Dissolved Copper (micrograms) | Oil and Grease (mg) | Pesticides (microgram)
Addicks Reservoir | 134 | 224.6575 | 277109589.0411 | 73204608.8651 | 0.58356 | 0.0053151 | 0.0009589 | 0.01863 | 24.9918 | 0.0084932 | 0.010137 | 0.00054795
Brays Bayou | 127 | 402.7397 | 496771506.8493 | 131233148.5174 | 0.43288 | 0.006137 | 0.0011233 | 0.024932 | 50.8438 | 0.0084932 | 0.025205 | 0.0009589
Buffalo Bayou | 105 | 317.8082 | 392010136.9863 | 103558122.4329 | 0.4137 | 0.0064658 | 0.0012603 | 0.026575 | 52.5425 | 0.0084932 | 0.024384 | 0.0009863
Greens Bayou | 209 | 504.1096 | 621809041.0959 | 164264570.5612 | 0.36438 | 0.006 | 0.0010959 | 0.025479 | 41.1041 | 0.0084932 | 0.016438 | 0.00079452
White Oak Bayou | 110 | 350.6849 | 432562739.726 | 114270986.7271 | 0.41644 | 0.0063562 | 0.0012055 | 0.026027 | 50.2247 | 0.0084932 | 0.023288 | 0.00093151 | 365

## Scenario 2 - 2016
CONCENTRATIONS | Runoff Volume (thousand acre-ft) | Runoff Volume (liters) | Runoff Volume (gallons) | Total Suspended Solids (mg/l) | Total Nitrogen (mg/l) | Total Phosphorous (mg/l) | Biochemical Oxygen Demand (mg/l) | Fecal Coliforms (col/100 ml) | Dissolved Copper (micrograms/l) | Oil and Grease (mg/l) | Pesticides (micrograms/l)
Addicks Reservoir | 16.133 | 19899700000 | 5256944590.3114 | 201 | 1.83 | 0.33 | 6.3 | 6766 | 3.1 | 2.2 | 0.2
Brays Bayou | 22.54 | 28370000000 | 7494561125.4007 | 153 | 2.22 | 0.41 | 9 | 16379 | 3.1 | 7.5 | 0.3
Buffalo Bayou | 13.722 | 17268700000 | 4561907920.5572 | 145 | 2.35 | 0.46 | 9.6 | 17141 | 3.1 | 7.1 | 0.3
Greens Bayou | 16.8 | 20722500000 | 5474305354.9917 | 121 | 2.09 | 0.38 | 9 | 12472 | 3.1 | 4.3 | 0.3
White Oak Bayou | 34.613 | 42694400000 | 11278667272.2 | 145 | 2.33 | 0.44 | 9.6 | 16568 | 3.1 | 6.9 | 0.3
LOADS | Runoff Volume (thousand acre-ft) | Runoff Volume (liters) | Runoff Volume (gallons) | Total Suspended Solids (mg) | Total Nitrogen (mg) | Total Phosphorous (mg) | Biochemical Oxygen Demand (mg) | Fecal Coliforms (xE15 col) | Dissolved Copper (micrograms) | Oil and Grease (mg) | Pesticides (micrograms)
Addicks Reservoir | 16.133 | 19899700000 | 5260000000 | 4000000000000 | 36400000000 | 6570000000 | 125000000000 | 1.6 | 61700000000 | 43800000000 | 3980000000
Brays Bayou | 22.54 | 28370000000 | 7480000000 | 4350000000000 | 140000000000 | 11600000000 | 256000000000 | 5 | 88000000000 | 213000000000 | 8520000000
Buffalo Bayou | 13.722 | 17268700000 | 4560000000 | 2510000000000 | 40700000000 | 7960000000 | 166000000000 | 2.947 | 53600000000 | 123000000000 | 5190000000
Greens Bayou | 16.8 | 20722500000 | 5470000000 | 2500000000000 | 43300000000 | 7870000000 | 186000000000 | 2.276 | 64200000000 | 89000000000 | 6210000000
White Oak Bayou | 34.613 | 42694400000 | 11300000000 | 6190000000000 | 99500000000 | 18800000000 | 410000000000 | 7 | 132000000000 | 295000000000 | 12800000000